## Slide 1: CRIS DAQ
Updates

## Slide 2: Defining scan regions
Convenience: total scan range, MHz/step and minimum scan time calculated

## Slide 3: Defining scan regions
Convenience: total scan range, MHz/step and minimum scan time calculated
Complex scan regions (add and remove buttons)

## Slide 4: Defining scan regions
Convenience: total scan range, MHz/step and minimum scan time calculated
Complex scan regions (add and remove buttons)
Scan regions from Kara’s HFS simulation program (‘From peak estimates’ button) -> define scanning range around each peak, scan speed, scan speed in between peaks -> algorithm intelligently makes sure there are no overlapping scan regions

## Slide 5: Error bars on live graph
Python launch_ui live_viewer
Three options: sqrt-like errors for counting data, standard deviation within the bin for other data, or no errors
Rendering of error bar plots is more demanding, so may make UI a bit sluggish
X-errors always evaluated as standard deviation of points within the bin

## Slide 6: Recalling + fitting old data
Python launch_ui data_inspector
Get all data for one or more scans (multiple scans are added up)
DON’T TRY TO GET THE CURRENTLY RUNNING SCAN AS WELL!!!!
Includes satlas-powered HFS fitting
Right now, only one of these can work at the same time (will fix later)